**Version 17**

**Partial plates**

Assumes that even if there is a partial plate the XML file has data for the ‘empty’ wells.

To enter a partial plate, mark the subjects as XXXX, by entering x or X in the Sub Id box and select the only option XXXX.



The dilution and visits box for that subject can then be left without values as below



Note in this example, an extreme situation was simulated where the empty ODs actually passed the QC sample criteria, so initially the triplicate A1-3 have red text. After updating to XXXX the boxes change to black, indicating they will be ignored.

These wells appear on the plate report with subject XXXX and all quantitative wells null and never appear in the QC passed sample.

**Figure automation**

Now figures appear and disappear as they should.

**Dilution format**

What appears on the plate on the form are simply external formatting – values are stored to full accuracy. Format is currently set as, separator and two decimal places for all dilutions.

|  |  |  |
| --- | --- | --- |
| Enter | See | In database |
|  |  |  |
|  |  |  |

**Viewing tables**

Added a read only form to show list of QC passed samples.

